Library Board Minutes

Special Meeting Re: Library Annex

Attending: Vonda Cranford, Linda Smith, Jerry Dodd, James Cranford and Ashley Graves

- Electrical Quotes: Quotes were presented from McGrew Electric and Grayer Electric.

- Architect Quote: The Board reviewed the quote from Allison Architects.

- Retaining Wall: Ashley reports that the she was unable to accept any bids.

- Fire Resistance: Board member Jerry Dodd asks about fire proof safes or fire resistant sheetrock.

- Window Replacement: The windows need to be replaced to weather proof and create appropriate climate control.

- ADA Compliance: The front door must be widened, along with the bathroom door and the installation of a porch ramp.

- Foundation: The foundation must be repaired in order for the building to be usable.  Calculations must be done regarding weight of shelves and books.

If a licenced contractor will install a treated lumber 8in x 8 in 16ft long beam to support the floor joists with at least 8 x 16in cinderblocks, 4ft on centers for 61x28. Four cross beams will be installed equal distance apart between the existing center beam. Repair center beam and put in additional floor joists if they are 4ft to at least 24ft of 16ft on center. The maximum authorized for this work is under $20,000.

M: Jerry

2nd: Gregory

- Justification of Authorization: The Board requests a letter that the project is broken down to ensure the project is viable. This requires Board approval.

- Inspection Report: The Board reviewed the report regarding the foundation and crawl space.

Next meeting: July 1st

Meeting Adjourned.